IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

FLORISSANT WATER & SANITATION DISTRICT

Has Multiple Violations

Este informe contiene información muy importante sobre su agua potable. Tradúzcalo o hable con alguien que lo entienda bien.

Our water system recently violated multiple drinking water requirements. Although this situation is not an emergency, as our customers you have a right to know what happened, what you should do, and what we are doing to correct this situation. The Colorado Department of Public Health and Environment issued an Enforcement Order and Penalty Assessment (Order Number DW.03.23.160175) to our drinking water system on 3/20/2023. The Order requires us to complete corrective actions according to a specific schedule and to notify you of our progress.

VIOLATIONS IDENTIFIED DURING AN INSPECTION

A drinking water inspection performed by the Colorado Department of Public Health and Environment on 3/29/2022 identified significant deficiencies and violations that may pose a risk to public health. We were required to take action to correct these deficiencies and violations; however, we failed to take action by the required deadlines. We also failed to notify you of the inspection violation/situation in a timely manner. This notice was required to have been distributed by 5/28/2022 and repeatedly every three months.

| Description of Violation or Deficiency | Required Resolution Date | Steps We Are Taking | Estimated Completion Date |
| --- | --- | --- | --- |
| Storage Tank Condition: F319 (Violation) – We failed to correct sanitary defects identified at the finished water storage tank. | 8/26/2022 | We will repair two bullet holes, recoat the interior, and recoat the exterior of the tank. | 11/15/2025 |

A routine drinking water inspection conducted on August 13, 2025 by the state drinking water program identified the following violations that may pose a risk to public health.

| Description of Violation or Deficiency | Required Resolution Date | Steps We Are Taking | Estimated Completion Date |
| --- | --- | --- | --- |
| F318 – We have not performed the required storage tank inspections. | 1/10/2026 | We will perform and document a periodic inspection and provide a copy of the inspection report to the inspector along with a written explanation of how missing future inspections will be avoided. | 12/31/2025 |
| M619 - Supplier has not achieved the backflow prevention annual compliance ratio. | 1/1/2026 | We have resolved this issue. | 9/12/2025 |

- Uncontrolled cross connections can lead to a back pressure or siphonage event that may allow contaminants or disease-causing organisms to enter the drinking water.

- Uncorrected significant deficiencies may allow contamination or disease-causing organisms to enter the drinking water.

- Inadequately maintained storage tanks, identified through inspections, may allow contaminants or disease-causing organisms to enter the drinking water.

- These disease-causing organisms (viruses, parasites, bacteria) can cause symptoms such as diarrhea, nausea, cramps, and associated headaches.

What should I do?

- You may want to use an alternative drinking water supply (e.g. bottled). If you have specific health concerns, consult your doctor.

- If you have an infant, severely compromised immune system, are pregnant, or are elderly, you may be at increased risk and should seek advice from your doctor about drinking this water. General guidelines on ways to lessen the risk of infection by bacteria and other disease-causing organisms are available from EPA’s Safe Drinking Water Hotline at          1-800-426-4791.

For more information, please contact Joan Rook at (719) 748-3476 or florissantwater@centurytel.net, or PO Box 565, Florissant, CO 80816.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by: FLORISSANT WSD – PWSID CO0160175 Date distributed: October 19th, 2025.